## Slide 1: Desalination Using Looped Ion Exchange
By Karla Montemayor
Mentor: Dr. Wendell Ela
University of Arizona
Department of Chemical and Environmental Engineering
17 April 2010

## Slide 2: Research Objective
Prove that Ion Exchange works as a
pre-treatment to Reverse Osmosis
Show that the Ion Exchange column can be
regenerated
Show that the Regenerant can be recycled

## Slide 3: Tucson Water Sources and Demand Projections
0
50
100
150
200
250
300
350
400
450
500
1984
1989
1994
1999
2004
2009
2014
2019
2024
Year
Supply (1000s of AF)
Incidental
Reuse
CAP Delivery
Renewable Groundwater
Water Reuse
Total Demand

## Slide 4
  CAP water contains a high concentration of ions
The Problem At Hand
Water Quality
Constituent
Mean Well
Water
CAP
Water
Total Dissolved Solids (mg/L)
179
806
Hardness (mg/L CaCO
3
)
96
322
Sodium
(mg/L)
24
102
Calcium
(mg/L)
31
75
Magnesium
(mg/L)
5
31
Barium
(mg/L)
<
0.01
0.15
Strontium
(mg/L)
<
0.1
1
Chloride
(mg/L)
13
94
Sulfate
(mg/L)
26
256
Alkalinity (mg/L
HCO
3
¯
)
103
119
Total Organic Carbon (mg/L
C
)
< 1
3.1

## Slide 5
What is Reverse Osmosis?
In Reverse Osmosis, high pressure forces water to pass through porous membranes that filter out particles and ions.
Concentrated
Salts
FEED
FLOW
H
2
O
H
2
O
H
2
O
H
2
O
Mg
Cl
Fe
++
HCO3
Ca
SO
4
++
++
H
2
O
H
2
O
H
2
O
H
2
O
H
2
O
H
2
O
Permeate
Na
+
Concentrated
Salts
FEED
FLOW
H
2
O
H
2
O
H
2
O
H
2
O
Mg
Cl
Fe
++
HCO3
Ca
SO
4
++
++
H
2
O
H
2
O
H
2
O
H
2
O
H
2
O
H
2
O
H
2
O
H
2
O
H
2
O
H
2
O
H
2
O
H
2
O
Permeate
Na
+

## Slide 6
RO Membrane Fouling
  Scaling due to Barium(Ba) and Calcium(Ca) ions
  Build-up of clay and other organics
Only 85% Water Recovery
  163 Billion Gallons Water Loss/Year
  $165 Million/Year
Drawbacks to Reverse Osmosis
How Does Ion Exchange Help?
As a pre-treatment to RO, Ion Exchange(IX) can remove most of the ions thereby prolonging the life of the RO membrane and reducing costs and water loss.

## Slide 7: How Ion Exchange Works
Polymer resin beads trap ions in their pores and release them when exchanged for other ions

## Slide 8
Implemented Model
1. CaCl2 solution loads IX
column with Ca+ ions in
exchange for Na+ ions
2. Regenerant(brine solution)
loads column with Na+ ions
in exchange for Ca+ ions
Experiment only modeled removal of calcium ions

## Slide 9
Implemented Model
Before titration with EDTA
After titration with EDTA
Titrate Samples of:
1. CaCl2 solution before IX
2. CaCl2 solution after IX
3. Regenerant after IX
Equation to Calculate Mass of Calcium in CaCl2 solution and Regenerant:

## Slide 10
Implemented Model
Softening of Regenerant when IX column falls below 85% capacity
Addition of NaOH and Na2CO3 to Regenerant causes precipitation of CaCO3
Vacuum Filtration of Regenerant removes CaCO3 precipitate from solution
CaCO3
Precipitate

## Slide 11
Chart: Purolite Resin Capacity vs. Cycle
| 1 | 2 | 3 | 4 | 5
 | 1 | 0.76424 | 0.73608 | 0.67748 | 0.65666
 | 0.86548 | 0.78118 | 0.67381
9 10 | 1 | 0.76323
 | 0.84731 | 0.7882 | 0.68064
 | 0.85876 | 0.78511
16 | 0.84112
 | 1
Chart: Ca Accumulation in Regenerant
| 1 | 2 | 3
 | 0.11924 | 0.21282 | 0.2988
 | 0.064529 | 0.11804 | 0.21763 | 0.2992
 | 0.11062 | 0.19539
 | 0.10962 | 0.2002 | 0.26052
13 14 | 0.10842 | 0.17896
15 16 | 0.1024 | 0.17535
Load Solution: 11g CaCl2/L, Regenerant: 100g NaCl/L
Baseline = maximum calcium column can
hold
Resin Capacity =

## Slide 12
Chart: USA Resin Capacity vs. Cycle
| 1 | 2 | 3 | 4 | 5
 | 1 | 0.81446 | 0.59778 | 0.63781 | 0.50695
 | 0.90343 | 0.78499 | 0.77813
9 10 | 1
 | 1 | 0.85309
 | 0.95659 | 0.84481
 | 1
Chart: Ca Accumulation in Regenerant
| 1 | 2 | 3 | 4
 | 0.11904 | 0.23607 | 0.32224 | 0.39058
 | 0.13206 | 0.23126
7 8 | 0.13006 | 0.22325
 | 0.12144 | 0.20601
11 12 13 | 0.1161 | 0.24208 | 0.29058
Load Solution: 11g CaCl2/L, Regenerant: 100g NaCl/L
Resin Capacity =

## Slide 13
Chart: Cycle #
| 5 | 6 | 7
5 6 7 | 0.13226 | 0.23968 | 0.35711
 | 0.12985 | 0.24068
10 11 | 0.12685 | 0.23587
 | 0.050902 | 0.19078 | 0.29178 | 0.41363 | 0.50902
Chart: (11g)-Resin Capacity vs. Cycle
| 1 | 2 | 3 | 4
 | 1 | 0.915 | 0.949 | 0.807
5 6 7 | 0.9757 | 0.822 | 0.804
8 9 | 0.94 | 0.837
 | 0.925 | 0.852
Load Solution: 11g CaCl2/L, Regenerant: 400g NaCl/4L
Resin Capacity =

## Slide 14
Chart: Ca Accumulation in Regenerant
| 5 | 6 | 7 | 8 | 9 | 10 | 11
 | 0.97684 | 0.99272 | 0.97004 | 0.98039 | 0.99697 | 0.96847 | 0.98017
 | 1 | 0.98208 | 0.98123 | 0.97067
 | 0.049775 | 0.076152 | 0.10087 | 0.12518
 | 0.035671 | 0.064001 | 0.085546 | 0.1126 | 0.13339 | 0.15759
Chart: (2g)-Resin Capacity vs. Cycle
| 5 | 6 | 7 | 8 | 9 | 10 | 11
 | 0.97684 | 0.99272 | 0.97004 | 0.98039 | 0.99697 | 0.96847 | 0.98017
 | 1 | 0.98208 | 0.98123 | 0.97067
Load Solution: 2g CaCl2/L, Regenerant: 400g NaCl/4L
Resin Capacity =

## Slide 15
Future Goals
Remove other ions such as Barium
and Magnesium
Design and apply model of removing
other ions from Regenerant

## Slide 16
Special Thanks to Dr. Wendell Ela, Dr. Barron Orr,
Ornella Nkurunziza, and Justin Nixon (U of A)
Questions?
Acknowledgements: