## Slide 1: Focal Plane Actuation to Achieve Ultra-High Resolution on Suborbital Balloon Payloads
Mentor: Dr. Paul Scowen
Graduate Student: Alex Miller
Undergraduate Students: Jake Trahan & Ravi Prathipati
Raquel Camarena

## Slide 2: Motivation
High resolution planetary images
Fraction of the cost
Remove jitter movement

## Slide 3
Charged-Coupled Device (CCD)
  Properties
  Characterization
Optomechanics

## Slide 4: How Does a Charged-Coupled Device Work?
http://apps.thermoscientific.com/media/BID/CELL/Images/Fig2-readout-CCD-03-lg.jpg
Signal-to-noise ratio
Sensitivity
Notes: Explain the water conveyer belt analogy and explain the characteristics of a CCD and how they differ based upon signal to noise ratio and sensitivity (amount of photons)

## Slide 5: Characterization
Read noise
  Bias frames
    Electronics
Flat Field
  Pixel sensitivity
    usually 98-102%
    pixel uniformity
Quantum Efficiency
  % number of incident photons converted to recorded electrons
  Type of CCD
Notes: I will talk about how read noise are depicted bias frames. I will then speak about the purpose of flat fields and how they represent pixel sensitivity. A normalized flat field is when all pixel values are converted to a percentage from 0-1. The normalized flat field is used to adjust the final data so that all of the pixels are uniform with respect to each other. I will then explain the importance of quantum efficiency and how it changes between each CCD and why we characterize

## Slide 6
Notes: Talk about preparation for characterization

## Slide 7
Notes: Talk about preparation for characterization

## Slide 8
Quantum Efficiency

## Slide 9
429 nm
529 nm
Flat Fields
Notes: talk about what is considered the “good part” (square)

## Slide 10
Flat Fields
649 nm
Notes: speak about how careful one must be when taking images due to obstructions (the smudge can be seen)

## Slide 11
1st Data of Bias Frames
Frame | Frame Average
1 | 634.725
2 | 634.491
3 | 633.725
4 | 633.69
5 | 633.84
6 | 634.2
7 | 634.964
8 | 634.134
9 | 634.313
10 | 635.218
Superbias Average: | 634.33

## Slide 12
2nd Data of Bias Frames
Frame | Frame Average
1 | 627.483
2 | 627.323
3 | 627.476
4 | 627.578
5 | 628.395
6 | 627.958
7 | 628.689
8 | 628.736
9 | 628.812
10 | 627.682
Superbias Average: | 627.564

## Slide 13
1st Data of Dark Frames
Frame (sec) | Frame Average (after bias sub)
0.5 | -45.7408
0.5 | -45.2706
0.5 | -46.8533
0.5 | -47.0185
0.5 | -47.0009
0.5 | -46.8878
0.5 | -46.8605
0.5 | -45.5151
0.5 | -45.3363
0.5 | -44.7712
30 | -68.1196
60 | -305.739

## Slide 14
2nd Data of Dark Frames
Frame (sec) | Frame Average (after bias sub)
0.5 | 0.856396
0.5 | -0.157764
0.5 | -0.60657
0.5 | -0.34984
0.5 | -1.49175
0.5 | -1.99268
0.5 | -1.68962
0.5 | -1.68268
0.5 | -0.823135
0.5 | -0.578164
30 | -3.70106
60 | -3.98557

## Slide 15: Further Work
Continue to characterize
Work with Hexapod and CCD in Dewar
Notes: Mention that Hexapod is used to remove jitter as I did in 2nd slide

## Slide 16
Thank you for listening!
Questions?

## Slide 17
http://micro.magnet.fsu.edu/primer/digitalimaging/concepts/interline.html
Notes: Backup slides (further explain CCD and electrical components)

## Slide 18
Notes: Backup slides (compare to QE curve from our own data)

## Slide 19
Notes: Backup Slides (show further development with resolution)