## Slide 1: Low-Range Force Balance Research Project
By:
James McClure III
Arizona Space Grant Consortium, Phoenix, AZ
April 17-18, 2015

## Slide 2: Project Purpose
Design, manufacture, and test a force balance
  Precise
  Portable
  Easy to manufacture, use
Low Reynold’s Number testing ability
Yellow: Joints
Red: Sensors
Green: Power
Blue: Central Shaft

## Slide 3: Major Components
Flexure Joints
  Must rotate with virtually no resistance
Component Use
  Forces applied to load cells must not exceed 100 grams
Stepper Motor
Model Attachment Shaft

## Slide 4: Flexure Joints
Spring Steel sheets clamped with aluminum blocks
  Spring steel rotates through small angles only

## Slide 5: Safety Towers
L-Brackets with tapped holes for fine pitch screws
  Secure screws to top plate to anchor in place

## Slide 6: Portability
Balance should not exceed 5 pounds
Easy to carry across short distances

## Slide 7: Special Thanks
Dr. Lance Traub
  Mentor for this project
Mr. Patrick David
  ERAU Prescott Machinist
Jet Cutting Solutions
  Manufacturer of base, top plate and flexure supports

## Slide 8: Questions?