## Slide 1: Pulse Shape and Signal Processing for Neutron and Gamma Energy Sources
Nathan Barba Mentor: Dr. Craig Hardgrove Arizona State University Mechanical Engineering

## Slide 2: Neutron Spectroscopy Using CLYC
Cs2LiYCl6:Ce (CLYC) is an inorganic scintillator that has dual sensitivity to neutron and gamma rays.
Scintillation detectors produce light when exposed radiation.
The light generated is converted to electrical energy using a photomultiplier tube (PMT). The waveform signals that are output from the PMT are called pulses.
The signal from the pulses can be pre-processed using analog and/or digital electronics.
Source: Spieler, H., Front-End Electronics and Signal Processing

## Slide 3: Applications
Radioactive Material Detection
Quantitative Analysis
Soil composition
  Oil and Gas
Hydrogen Detection
  Space applications
Source: Amptek

## Slide 4: Space Based Neutron Detectors
LunaH-Map
  MiniNS Detector
Mars Science Laboratory (Curiosity)
  Dynamic Albedo of Neutrons (DAN)
DAWN Mission
  Gamma Ray and Neutron Detector (GRaND)
DAN Instrument Source: ROSCOSMOS
MiniNS Source: Hardgrove Labs

## Slide 5: CLYC Laboratory Setup
Hardgrove Lab
Analog Electronics
Digital FGPA
Source: Potassium
Holbert Lab
Analog Electronics
Digital FGPA
Source: Cesium

## Slide 6: Signal Processing Hardware
Analog
  Charge Sensitive Preamplifier
  Gaussian Shaper
  Analog/Digital Converter (MCA)
Outputs:
  Histogram
Digital
  Analog/Digital Converter (MCA)
  FPGA and Software Processing
Outputs:
  Raw Waveform
  Integrals
  Histogram
  Pulse Shape Discrimination

## Slide 7: Neutron Pulse Processing Software
Raw Waveform
Convert to Integrals
Generate Histogram

## Slide 8: Pulse Processing Results
3600 sec experiment control versus potassium chloride salt pellets
Green: Potassium (K-40) Red: Background radiation

## Slide 9: Acknowledgements
Thank you to:
Dr. Craig Hardgrove
Dr. Tom Sharp and Desiree Crawl
Arizona Space Grant Consortium
NASA
Erik Johnson - Radiation Monitoring Devices (RMD)
Dr. Keith Holbert - ASU

## Slide 10: Thank you!
Questions??
nathan.barba@asu.edu