## Slide 1: Maintaining Microwave Spectrometer
Olivia Cote
Stephen Kukolich, Kukolich Lab, Chemistry Department of University of Arizona
27th Annual Arizona Space Grant Consortium Symposium, University of Arizona
April 14, 2018

## Slide 2: Intro / Outline
Kukolich Lab
Space Grant Undergraduate Research Internship
  Expectations
  Data Sheet & Analysis
  Documentation
  Troubleshooting & Integration
Foundations Laid for the Future

## Slide 3: Kukolich Lab
Source: Adam Daly

## Slide 4: Expectations
Source: Huffington Post

## Slide 5: Data Sheet & Analysis
Source: Huffington Post

## Slide 6: Documentation

## Slide 7: Troubleshooting & Integration
Desk Test Equipment
  Multimeter
  Oscilloscope
  Power Generator
Special Tests Development & Implementation
Breadboard Modeling

## Slide 8: Troubleshooting & Integration
Troubleshooting Process
  Check most basic things first – hot, ground, etc.
  Simplify tests - LEDs
  Assume you’re wrong – double check calculations, wiring set ups

## Slide 9: Foundations for Future
Thorough documentation for easy transition for next person
Possibilities for future solutions
Completely software based replacement
Arduino microprocessor replacement

## Slide 10: Thank you