## Slide 1
Proton Patient Log File Analysis for Machine Performance Evaluation
Madison Grayson1, Dr. Ricardo Alarcon1, Dr. Daniel Robertson2
1. Arizona State University, Department of Physics, 2. Mayo Clinic Arizona, Radiation Oncology

## Slide 2: Introduction
Proton therapy is one of the most advanced types of radiation therapy
As the protons slow down after entering the body, most of their energy is deposited at a specific depth
Objective: Analyze treatment log files to identify machine performance trends over time
Identify machine issues before they cause downtime or degrade treatment quality
Figure 1. Proton Bragg peak in water
Source: Cirrone, et al. [1]

## Slide 3: Log Files
Log files are produced from each patient treatment:
  Gantry
  Delivered spot position
  Gantry angle
  Monitor units (MUs)
Provides a treatment record
Used for patient-specific QA

## Slide 4: Methods
All patient treatment logs are stored in DICOM format
Software was developed to extract the spot position, MUs, and gantry angle from all log files
Mean spot position error and MU error were calculated for each delivered field
A total of 22 months of treatments on 4 gantries were analyzed, including 43,807 total fields

## Slide 5: Results - Machine Maintenance

## Slide 6: Results - Spot Position for G4

## Slide 7: Results - Spot Position for G2

## Slide 8: Results - G2 After Maintenance

## Slide 9: Conclusions
Daily/monthly QA measurements might catch these deviations
Field-by-field data provides more continuous, granular description of machine performance
Also more representative of machine usage than QA test patterns

## Slide 10: Future Work
Development of log file analysis metrics to preemptively diagnose performance issues
Continuously monitor system performance
Expand to use more detailed log files
  MU1 vs MU2
  Spot size
  Delayed charge
  Magnet currents

## Slide 11: Acknowledgements References
Niels Arnesen, Hitachi America Limited
Larry Patnode, Hitachi America Limited
Keith Furutani, PhD, Mayo Clinic
[1] Cirrone, et al.(2009). Dosimetric and clinical experience in eye proton treatment at INFN-LNS. 1120. 10.1063/1.3141651

## Slide 12: Thank you! Any questions?