## Slide 1: Shock Tube Method for Dynamic Calibration of Pressure Transducers
Nina Mackey, Dr. Alex Craig, John Flood, Vincent Tran

## Slide 2: Pressure Transducer Background
Pressure sensor for gases and liquids
Kulite XCE-062
  High Temperature Ultraminiature Pressure Transducer
Wide range of applications
Kulite.com
Omega.com

## Slide 3: Pressure Transducer Calibration Importance
Often installed in harsh operating environments
  Performance shift over time
Examples of calibration errors
Dynamic vs Static Calibration
  Dynamic calibration determines
  dynamic behavior of sensor
Shock Tube method chosen
Important to understand
unsteady flow features
Error Example 1
Error Example 2
Control.com
Control.com

## Slide 4: Shock Tube Background
Driver and Driven Sections
  High pressure side, Low pressure side
Resulting shockwave
PetersonGroup.TAMU.edu
Keith and John, Gas Dynamics 3rd Edition
Keith and John, Gas Dynamics 3rd Edition

## Slide 5: Shock Tube Design
Designed in SolidWorks
  Adjustments made as parts were produced by shop
Mylar diaphragm
Tube is rated to 100 psi
  Kulite measures 0-20 psi
Tube made of steel
Mounted pressure transducer
  Within Driven section

## Slide 6: Results
Pressure transducer experiences a step change in input
MATLAB used to process data
Produces graphs, most important being Kulite Pressure Data
Sources of error

## Slide 7: Summary
Over time, errors can be analyzed to improve design
Importance of this project within BLST Lab and beyond
Future applications
Applicable in wide range of pressure transducer usage

## Slide 8: Thank You!