## Slide 1: Diffusion of Biospecies within a Lung-on-a-chip Device
Victor Estrada in collaboration with:
Tim Frost and Dr. Yitzhak Zohar

## Slide 2: Project Motivation
Expensive, Inaccurate, and Unethical testing on animal models
Creating microfluidic “organs-on-a-chip”

## Slide 3: Description of a lung-on-a-chip device
4 cm
2 cm

## Slide 4: Goals
Determine what flow parameters influence the amount of diffusion the most:
  Flow rate
  Membrane Pore Size
  Molecule Size
  Flow Direction

## Slide 5: Experimental Setup
Two syringes are loaded. One with 100% concentration of certain fluorescent protein and the other at 0%
Pump
Micro-fluidic Device
Collection Containers
High concentration on top channel and low concentration on bottom channel
500 µl are collected from each channel in every trial

## Slide 6: Flow Rate Results
Chart: Flow Rate, Q [µL/hr]
Curve fitting | 0.5 | 0.4 | 0.33333 | 0.28571 | 0.25 | 0.22222 | 0.2 | 0.18182 | 0.16667 | 0.15385 | 0.14286 | 0.13333 | 0.125 | 0.11765 | 0.11111 | 0.10526 | 0.1 | 0.090909 | 0.083333 | 0.076923 | 0.071429 | 0.0625 | 0.055556 | 0.05 | 0.045455 | 0.038462 | 0.033333 | 0.029412 | 0.026316 | 0.02381 | 0.022727
Numerical Simulations | 0.5 | 0.42 | 0.17 | 0.15 | 0.1 | 0.04 | 0.02 | 0.01
1/Q | 0.5 | 0.6 | 0.66667 | 0.71429 | 0.75 | 0.77778 | 0.8 | 0.81818 | 0.83333 | 0.84615 | 0.85714 | 0.86667 | 0.875 | 0.88235 | 0.88889 | 0.89474 | 0.9 | 0.90909 | 0.91667 | 0.92308 | 0.92857 | 0.9375 | 0.94444 | 0.95 | 0.95455 | 0.96154 | 0.96667 | 0.97059 | 0.97368 | 0.97619 | 0.97727
 | 0.5 | 0.5
numerical | 0.5 | 0.58 | 0.83 | 0.85 | 0.9 | 0.96 | 0.98 | 0.99

## Slide 7: Pore Size Results
Chart: Flow Rate, Q [µL/hr]
| 5 | 15 | 20 | 30 | 50 | 80 | 100 | 150 | 200
.4 µm pore size | 0.302 | 0.265 | 0.175 | 0.1 | 0.11 | 0.03 | 0.06 | 0.04 | 0.04
3.0 µm pore size | 0.44126 | 0.34891 | 0.26662 | 0.16909
Polynomial | 0.5 | 0.4 | 0.33333 | 0.28571 | 0.25 | 0.22222 | 0.2 | 0.18182 | 0.16667 | 0.15385 | 0.14286 | 0.13333 | 0.125 | 0.11765 | 0.11111 | 0.10526 | 0.1 | 0.090909 | 0.083333 | 0.076923 | 0.071429 | 0.0625 | 0.055556 | 0.05 | 0.045455 | 0.038462 | 0.033333 | 0.029412 | 0.026316 | 0.02381 | 0.022727 | 0.019231
new | 0.38 | 0.32 | 0.16
new pol | 0.5 | 0.48649 | 0.47368 | 0.46154 | 0.45 | 0.43902 | 0.42857 | 0.4186 | 0.40909 | 0.4 | 0.3913 | 0.38298 | 0.375 | 0.36735 | 0.36 | 0.35294 | 0.34615 | 0.33333 | 0.32143 | 0.31034 | 0.3 | 0.28125 | 0.26471 | 0.25 | 0.23684 | 0.21429 | 0.19565 | 0.18 | 0.16667 | 0.15517 | 0.15 | 0.13235
Chart: Flow Rate, Q [µL/hr]
| 5 | 15 | 20 | 30 | 50 | 80 | 100 | 150 | 200
.4 µm pore size | 0.302 | 0.265 | 0.175 | 0.1 | 0.11 | 0.03 | 0.06 | 0.04 | 0.04
3.0 µm pore size | 0.44126 | 0.34891 | 0.26662 | 0.16909
Polynomial | 0.5 | 0.4 | 0.33333 | 0.28571 | 0.25 | 0.22222 | 0.2 | 0.18182 | 0.16667 | 0.15385 | 0.14286 | 0.13333 | 0.125 | 0.11765 | 0.11111 | 0.10526 | 0.1 | 0.090909 | 0.083333 | 0.076923 | 0.071429 | 0.0625 | 0.055556 | 0.05 | 0.045455 | 0.038462 | 0.033333 | 0.029412 | 0.026316 | 0.02381 | 0.022727 | 0.019231
new | 0.38 | 0.32 | 0.16
new pol | 0.5 | 0.48649 | 0.47368 | 0.46154 | 0.45 | 0.43902 | 0.42857 | 0.4186 | 0.40909 | 0.4 | 0.3913 | 0.38298 | 0.375 | 0.36735 | 0.36 | 0.35294 | 0.34615 | 0.33333 | 0.32143 | 0.31034 | 0.3 | 0.28125 | 0.26471 | 0.25 | 0.23684 | 0.21429 | 0.19565 | 0.18 | 0.16667 | 0.15517 | 0.15 | 0.13235

## Slide 8: Flow Direction Results
Chart: Flow Rate, Q [µL/hr]
| 20 | 30 | 50 | 100 | 200
(500 µm, 0.4 µm, Fluorescein) | 0.15196 | 0.092543 | 0.10516 | 0.070784 | 0.044437
(500 µm, 0.4 µm, Fluorescein, Counter-current) | 0.10566 | 0.071442 | 0.042467 | 0.05521
Polynomial | 0.5 | 0.4 | 0.33333 | 0.28571 | 0.25 | 0.22222 | 0.2 | 0.18182 | 0.16667 | 0.15385 | 0.14286 | 0.13333 | 0.125 | 0.11765 | 0.11111 | 0.10526 | 0.1 | 0.090909 | 0.083333 | 0.076923 | 0.071429 | 0.0625 | 0.055556 | 0.05 | 0.045455 | 0.038462 | 0.033333 | 0.029412 | 0.026316 | 0.02381 | 0.022727 | 0.019231

## Slide 9: Conclusions
Flow rate is the most significant parameter that influences diffusion
Pore size also has a significant impact but it is less physiologically relevant than flow rate
The direction of the flow has virtually no effect
The size of the molecule has been seen to have a small effect however the results were not conclusive. More tests need to be conducted

## Slide 10: Applications
This information will be used to better the understanding of absorption of drugs and diseases within microfluidic devices
This will also help further the relatively new field of microfluidics which has a lot of applications from biomedical engineering to aerospace engineering

## Slide 11: Acknowledgements
Dr. Yitshak Zohar
Tim Frost

## Slide 12: Thank you