## Slide 1: Deflectometry-based Measurement And Correction Of Mirror Misalignment
Joel Berkson
Large Optics Fabrication and Testing (LOFT) Group
Mentor: Dae Wook Kim

## Slide 2: What is Deflectometry?
Object
Image
Optics
How did we get from object to image?

## Slide 3: General Deflectometry
Display
Camera
Sample
Measured data
Input data

## Slide 4: Sheared Fourier Transform for Phase Data
Show subtraction of waves/general FT idea
Δ
Sheared Pattern
g(x+Δ)-g(x)
Measured Pattern
Heejoo Choi, et al. Proc. SPIE 103770G, 103770G (2017)

## Slide 5: Benefits and Applications
High updating time (~10Hz)
Scalable to monitor multiple mirrors simultaneously
  JWST (James Webb Space Telescope)
  GMT (Giant Magellan Telescope)
Can achieve mrad and μrad relative misalignment measurement
  Scalable by camera and display pixel size/geometry of setup
Closed loop monitoring and correction of mirror segments

## Slide 6: Test Procedure
Display and image initial pattern
Start monitoring process
Capture image
Evaluate tilt
Move motor
Analyze pattern
External mirror misalignment
Closed Loop Control
Computer
LCD
Motorized Rotation Stage
Camera
Laser
Tilt Mounted Mirror
Motor Driver
Camera

## Slide 7: Results
(μrad)

## Slide 8: Results
Manual mirror tilt
(μrad)

## Slide 9: Results
Compensate tilted mirror
(μrad)

## Slide 10: Results
Return position
(μrad)

## Slide 11: Conclusions
Deflectometry for mirror orientation has potential to be used in active control systems in both fabrication and assembly stages of an optical system
Future work
  Absolute as well as relative tilt measurement
  Using voice coil actuators for quick correction
    Adjust for non-static alignment disruption

## Slide 12: Acknowledgements
NASA Space Grant Consortium
Dae Wook Kim, Heejoo Choi, LOFT group

## Slide 13: Thank You!

## Slide 14: Sheared Fourier Transform for Phase Data
Show subtraction of waves/general FT idea
Δ
Sheared Pattern
g(x+Δ)-g(x)
Measured Pattern
Heejoo Choi, et al. Proc. SPIE 103770G, 103770G (2017)

## Slide 15: Angle Calculation
,
Pixel pitch in physical units × number of pixels for one period × shifted phase (D)
Heejoo Choi, et al. Proc. SPIE 103770G, 103770G (2017)