## Slide 1: Commissioning the Lowell Titan Monitor Telescope
Cameron Piotti, Gerard van Belle
NAU, Lowell Observatory

## Slide 2: The Lowell Titan Monitor (TiMo)
At Lowell Observatory (Flagstaff) at Mars Hill campus
20” telescope
Fully robotic operations
Includes: telescope, camera, filter wheel, dome, weather station(s)

## Slide 3: Science Case: Measurement of Absolute Flux of Stars
Enabled by careful calibration of measurements
Focus of this Space Grant Project
Corrections / considerations:
Filter curve
Detector curve
Atmospheric extinction
Star Cluster R136
F. Paresce,R. O'Connell
APOD

## Slide 4: Filtered Observations
17 different ‘colors’
Brightness measures from violet to far red
Each filter has a characteristic transmissivity
Central wavelength, width
Show filter curves figure (next slide)
Timo 20-position filter wheel

## Slide 5: Filter Curves Example

## Slide 6: Detector QE
CCD: charge coupled device
Detector for TiMo, similar to detector in your phone
CCD quantum efficiency
Response versus wavelength

## Slide 7: Comparison to Vega
That one
Flux standard in astronomy
Our ‘measurement ruler’
Zero point for each filter
How much light from Vega would be seen in each filter?

## Slide 8: Extend to the Whole Sky: Secondary standards
Using Vega zero points, establish brightnesses of HST STIS NGSL stars
Hubble Space Telescope standards
STIS (Space Telescope Imaging Spectrograph)
NGSL (Next-Gen Spectral Library)
HST measures flux without contamination from
Earth’s atmosphere
Catalog of flux-calibrated stars
NASA

## Slide 9: Using the Calibrated Standards for Science
Observations
Interleave of ‘known stars’ of HST STIS NGSL with science targets
Observe at different zenith angles
  Allows for characterization of Earth’s atmospheric extinction

## Slide 10: Enabled Astrophysics: Stellar Fundamental Parameters
Brightness measurements allow us to pin down the ‘spectral energy distribution of a star’
i.e. ‘area under the curve’
Our measures at many colors allow selection of correct spectral template (blue)
Useful for direct measures of stellar temperature