## Slide 1: Calibration of Images from the OSIRIS-REx Camera Suite
Natalie Shultz
Dr. Dathon Golish
University of Arizona
Arizona NASA Space Grant Symposium
04/17/21

## Slide 2: The primary goal of the OSIRIS-REx mission is to collect and return a sample of the surface of asteroid Bennu
asteroidmission.org
lockheedmartin.com
Notes: Main goal to collect sample
Data collected goes toward producing science products but importantly finding a safe sample site
Leaving data for future work
Spectral and geological survey

## Slide 3: The OSIRIS-REx Camera Suite (OCAMS) is composed of three imagers; the data acquired requires calibration
asteroidmission.org
Raw Image
Bias/Dark
Subtraction
Charge Smear Removal
Flat Field Normalization
Reflectance Conversion
Radiometric Conversion
Calibrated Images
PolyCam
MapCam
SamCam

## Slide 4: Charge smear is caused by the transfer of the frame transfer charge-coupled device (CCD) used for each imager
Pre-exposure frame transfer
Image exposure
Transfer to storage
Image readout
Readout Register
Charge smear
Exposed image

## Slide 5: Our goal is to completely remove charge smear
Measured Signal = True Signal + Charge Smear
Active Area
Covered Region
Detector Layout
Buffer

## Slide 6: The current charge smear correction is an iterative process to optimize the correction factor
Image with charge smear
Subtract charge smear
Calculate residual
Charge smear correction complete
Adjust correction factor and apply to charge smear correction
Residual below threshold?
No
Yes

## Slide 7: By simulating the accumulation of charge smear we verified our correction method based on our understanding
Image without charge smear
Image with simulated charge smear
Image with simulated charge smear removed using current method
(no correction factor)

## Slide 8: We tested ways to increase the efficiency and accuracy of the charge smear removal with varied images

## Slide 9: We implemented an optimization function that finds the correction factor faster and more accurately
*Contrast enhanced for visualization

## Slide 10: Future work should address the discrepancy between the theoretical and experimental correction
Physical and electronic characteristics of detector
  Transfer time and transfer efficiency
  Sensor nonlinearities
Why is a correction factor needed?
This knowledge will go towards better calibration techniques for past, present, and future data and missions

## Slide 11: Acknowledgements
Thank you to the Arizona Space Grant Consortium
Special thank you to Dathon Golish and the OSIRIS-REx team
References:
Golish, D. R., et al. “Ground and In-Flight Calibration of the OSIRIS-REx Camera Suite.” Space Science Reviews. 216, 12 (2020)

## Slide 12: Thank you!