## Slide 1: Measurement of Carbon Dioxide Levels Above Chuska Mountain As Measured By High Altitude Balloon
Presentation by LeTanya Thinn, Urian Yazzie, Tyler Begay, and William Connell

## Slide 2: Contents
Background (LeTanya Thinn)
Diné Philosophy
Experimental Procedure (Tyler Begay)
Results
Analysis
Improvements (William Connell)
Long Term Goals
Acknowledgements

## Slide 3: Background
Atmospheric carbon dioxide at an all time high and a source of greenhouse effect.
With global temperatures rising, importance of measuring carbon dioxide essential.
Goal: obtain knowledge of gas measuring techniques and proficiency in execution of procedures to obtain valuable data of carbon dioxide in atmosphere of Navajo Nation.

## Slide 4: Experimental Procedure
Sensor Research
  Gas
  Function Type
Payload Assembly
  Box walls
  Insulation cut-out
Launch and Recovery
Data Recovery
Sensor Testing
  O2/N2
  N2/10%CO2

## Slide 5: CO2 Sensor: CM-0018 - CO2, Temperature, Humidity
0-10,000 ppm
Internal memory
30s logging interval
AA powered
GasLab interface
3 air intakes

## Slide 7: Results

## Slide 8: Analysis
Sensor testing suggests proper functioning of all measurables
Data appears to be affected by changes in pressure and temperature
Durations of data measure indicate shutoff
Erratic gas, temperature, humidity sensor data

## Slide 9: Improvements
Calibration
  Ground Level
  Vacuum
  Low Temperature
  Control Environments
Sensor Preparation
  Internal Time
  GasLab Software Documentation
Correcting for Conditions at Altitude
  Pressure
  Temperature

## Slide 10: Long Term Goals
Improve Data Collection
  Consistent accuracy
Observe Trends
  Yearly measurements
Develop Familiarity With Techniques
  Proficiency with instrumentation/collection
Monitor Navajo Nation
  Provide Meaningful Data
  Applicable to Community Health

## Slide 11: Acknowledgements
Susan Brew, Arizona Space Grant Consortium, Jack Crabtree, Francis Burns, Juanita Francis, NASA and More.